## XP & Module 1
| Description / TAG | Input Setting | Terminal ID | Flow-X/P Connector | Flow-X/P Terminal |  | Description / TAG | Input Setting | Terminal ID |  |  | Flow-X/P Connector | Flow-X/P Terminal
Power Supply | 24 VDC POWER SUPPLY INPUT |  | + | 24 VDC | 1 | Analog Output 1 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1A | 12
|  |  | + | 24 VDC | 2 |  |  |  | - |  |  | X1A | 13
|  |  | + | 24 VDC | 3 | Analog Output 2 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1A | 30
|  |  | + | 24 VDC | 4 |  |  |  | - |  |  | X1A | 31
|  |  | - | 24 VDC | 5 | Analog Output 3 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1B | 12
|  |  | - | 24 VDC | 6 |  |  |  | - |  |  | X1B | 13
|  |  | - | 24 VDC | 7 | Analog Output 4 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1B | 30
|  |  | - | 24 VDC | 8 |  |  |  | - |  |  | X1B | 31
Ethernet Port 1 | Not Assigned - Default Setting | Ethernet | N/A | ETH 1 | N/A | Serial Com Port 1 | Not Assigned | RS485 (2-wire) |  | Tx+ | TRx+ | X1A | 1
Ethernet Port 2 | Not Assigned - Default Setting | Ethernet | N/A | ETH 2 | N/A |  |  |  | Tx | Tx- | TRx- | X1A | 2
[10 empty] | Rx- |  | X1A | 3
XP Com Port 1 RS232 Only | Not Assigned | RS232 | Rx | Com1 | 2 |  |  |  | Rx | Rx+ |  | X1A | 4
|  |  | Tx |  | 3 |  |  |  | Gnd |  |  | X1A | 21
|  |  | GND |  | 5 | Serial Com Port 2 | Not Assigned | RS232 |  | Tx+ | TRx+ | X1B | 1
|  |  | RTS |  | 7 |  |  |  | Tx | Tx- | TRx- | X1B | 2
|  |  | CTS |  | 8 |  |  |  |  | Rx- |  | X1B | 3
XP Com Port 2 RS232/485 | Not Assigned | RS485 | Rx- | Com2 | 1 |  |  |  | Rx | Rx+ |  | X1B | 4
|  |  | Rx+ |  | 2 |  |  |  | Gnd |  |  | X1B | 21
|  |  | Tx- |  | 3
|  |  | Tx+ |  | 4 | Digital I/O 1 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 6
|  |  | GND |  | 5 |  |  |  | - |  |  | X1A | 7
XP Com Port 3 RS232/485 | Not Assigned | RS485 | Rx- | Com3 | 1 | Digital I/O 2 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 8
|  |  | Rx+ |  | 2 |  |  |  | - |  |  | X1A | 9
|  |  | Tx- |  | 3 | Digital I/O 3 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 10
|  |  | Tx+ |  | 4 |  |  |  | - |  |  | X1A | 11
|  |  | GND |  | 5 | Digital I/O 4 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 20
[9 empty] | - |  |  | X1A | 21
Analog/HART Input 1 | Not Assigned - Default Setting | 4-20mA | + | X1A | 32 | Digital I/O 5 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 22 | [5 empty] | Pick lists
|  |  | - | X1A | 33 |  |  |  | - |  |  | X1A | 23
Analog/HART Input 2 | Not Assigned - Default Setting | 4-20mA | + | X1A | 34 | Digital I/O 6 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 24 | [5 empty] | 4-20mA
|  |  | - | X1A | 35 |  |  |  | - |  |  | X1A | 25 | [5 empty] | 1-5V
Analog/HART Input 3 | Not Assigned - Default Setting | 4-20mA | + | X1A | 36 | Digital I/O 7 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 26 | [5 empty] | HART
|  |  | - | X1A | 37 |  |  |  | - |  |  | X1A | 27 | [5 empty] | 0-20ma
Analog/HART Input 4 | Not Assigned - Default Setting | 4-20mA | + | X1B | 32 | Digital I/O 8 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 28 | [5 empty] | 0-5V
|  |  | - | X1B | 33 |  |  |  | - |  |  | X1A | 29
Analog Input 5 | Not Assigned - Default Setting | 4-20mA | + | X1B | 34 | Digital I/O 9 | Not Assigned - Default Setting | Digital Input | + |  |  |  | 6 | [5 empty] | Digital Input
|  |  | - | X1B | 35 |  |  |  | - |  |  | X1B | 7 | [5 empty] | Digital Ouput
Analog Input 6 | Not Assigned - Default Setting | 4-20mA | + | X1B | 36 | Digital I/O 10 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 8 | [5 empty] | Pulse Input A
|  |  | - | X1B | 37 |  |  |  | - |  |  | X1B | 9 | [5 empty] | Pulse Input B
[6 empty] | Digital I/O 11 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 10 | [5 empty] | Pulse Output
RTD / PRT Input 1 | Not Assigned - Default Setting | Power | + | X1A | 15 |  |  |  | - |  |  | X1B | 11 | [5 empty] | Time Period Input
|  | Signal | + | X1A | 16 | Digital I/O 12 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 20 | [5 empty] | Prover Detector
|  | Signal | - | X1A | 17 |  |  |  | - |  |  | X1B | 21 | [5 empty] | Prover Pulse Output
|  | Power | - | X1A | 18 | Digital I/O 13 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 22
RTD / PRT Input 1 | Not Assigned - Default Setting | Power | + | X1B | 15 |  |  |  | - |  |  | X1B | 23 | [5 empty] | RS232
|  | Signal | + | X1B | 16 | Digital I/O 14 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 24 | [5 empty] | RS485 (2-wire)
|  | Signal | - | X1B | 17 |  |  |  | - |  |  | X1B | 25 | [5 empty] | RS485 (4-wire)
|  | Power | - | X1B | 18 | Digital I/O 15 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 26
[9 empty] | - |  |  | X1B | 27
[6 empty] | Digital I/O 16 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 28 |  |  | Flow X/P Module 1 I/O Connections
[9 empty] | - |  |  | X1B | 29
Model Number: | Flow-X/P |  |  | Spirit IT Reference | [7 empty] | Revision | By | Date | Checked | Date | App'd | Date
Serial Number: |  |  |  | Customer reference
TAG No. |  |  |  | Project Name |  |  |  | Sheet | 1 | of | 4 | 0

## Module 2
| Description / TAG | Input Setting | Terminal ID | Flow-X/P Connector | Flow-X/P Terminal |  | Description / TAG | Input Setting | Terminal ID |  |  | Flow-X/P Connector | Flow-X/P Terminal
Analog/HART Input 1 | Not Assigned - Default Setting | 4-20mA | + | X1A | 32 | Analog Output 1 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1A | 12
|  |  | - | X1A | 33 |  |  |  | - |  |  | X1A | 13
Analog/HART Input 2 | Not Assigned - Default Setting | 4-20mA | + | X1A | 34 | Analog Output 2 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1A | 30
|  |  | - | X1A | 35 |  |  |  | - |  |  | X1A | 31
Analog/HART Input 3 | Not Assigned - Default Setting | 4-20mA | + | X1A | 36 | Analog Output 3 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1B | 12
|  |  | - | X1A | 37 |  |  |  | - |  |  | X1B | 13
Analog/HART Input 4 | Not Assigned - Default Setting | 4-20mA | + | X1B | 32 | Analog Output 4 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1B | 30
|  |  | - | X1B | 33 |  |  |  | - |  |  | X1B | 31
Analog Input 5 | Not Assigned - Default Setting | 4-20mA | + | X1B | 34
|  |  | - | X1B | 35 | Serial Com Port 1 | Not Assigned | RS232 |  | Tx+ | TRx+ | X1A | 1
Analog Input 6 | Not Assigned - Default Setting | 4-20mA | + | X1B | 36 |  |  |  | Tx | Tx- | TRx- | X1A | 2
|  |  | - | X1B | 37 |  |  |  |  | Rx- |  | X1A | 3
[9 empty] | Rx | Rx+ |  | X1A | 4
RTD / PRT Input 1 | Not Assigned - Default Setting | Power | + | X1A | 15 |  |  |  | Gnd |  |  | X1A | 21
|  | Signal | + | X1A | 16 | Serial Com Port 2 | Not Assigned | RS232 |  | Tx+ | TRx+ | X1B | 1
|  | Signal | - | X1A | 17 |  |  |  | Tx | Tx- | TRx- | X1B | 2
|  | Power | - | X1A | 18 |  |  |  |  | Rx- |  | X1B | 3
RTD / PRT Input 1 | Not Assigned - Default Setting | Power | + | X1B | 15 |  |  |  | Rx | Rx+ |  | X1B | 4
|  | Signal | + | X1B | 16 |  |  |  | Gnd |  |  | X1B | 21
|  | Signal | - | X1B | 17
|  | Power | - | X1B | 18 | Digital I/O 1 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 6
[9 empty] | - |  |  | X1A | 7
[6 empty] | Digital I/O 2 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 8
[9 empty] | - |  |  | X1A | 9
[6 empty] | Digital I/O 3 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 10
[9 empty] | - |  |  | X1A | 11
[6 empty] | Digital I/O 4 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 20
[9 empty] | - |  |  | X1A | 21
[6 empty] | Digital I/O 5 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 22 | [5 empty] | Pick lists
[9 empty] | - |  |  | X1A | 23
[6 empty] | Digital I/O 6 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 24 | [5 empty] | 4-20mA
[9 empty] | - |  |  | X1A | 25 | [5 empty] | 1-5V
[6 empty] | Digital I/O 7 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 26 | [5 empty] | HART
[9 empty] | - |  |  | X1A | 27 | [5 empty] | 0-20ma
[6 empty] | Digital I/O 8 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 28 | [5 empty] | 0-5V
[9 empty] | - |  |  | X1A | 29
[6 empty] | Digital I/O 9 | Not Assigned - Default Setting | Digital Input | + |  |  |  | 6 | [5 empty] | Digital Input
[9 empty] | - |  |  | X1B | 7 | [5 empty] | Digital Ouput
[6 empty] | Digital I/O 10 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 8 | [5 empty] | Pulse Input A
[9 empty] | - |  |  | X1B | 9 | [5 empty] | Pulse Input B
[6 empty] | Digital I/O 11 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 10 | [5 empty] | Pulse Output
[9 empty] | - |  |  | X1B | 11 | [5 empty] | Time Period Input
[6 empty] | Digital I/O 12 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 20 | [5 empty] | Prover Detector
[9 empty] | - |  |  | X1B | 21 | [5 empty] | Prover Pulse Output
[6 empty] | Digital I/O 13 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 22
[9 empty] | - |  |  | X1B | 23 | [5 empty] | RS232
[6 empty] | Digital I/O 14 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 24 | [5 empty] | RS485 (2-wire)
[9 empty] | - |  |  | X1B | 25 | [5 empty] | RS485 (4-wire)
[6 empty] | Digital I/O 15 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 26
[9 empty] | - |  |  | X1B | 27
[6 empty] | Digital I/O 16 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 28 |  |  | Flow X/P Module 2 I/O Connections
[9 empty] | - |  |  | X1B | 29
Model Number: | Flow-X/P |  |  | Spirit IT Reference | [7 empty] | Revision | By | Date | Checked | Date | App'd | Date
Serial Number: |  |  |  | Customer reference
TAG No. |  |  |  | Project Name |  |  |  | Sheet | 2 | of | 4 | 0 | MG | 22/12/2009

## Module 3
| Description / TAG | Input Setting | Terminal ID | Flow-X/P Connector | Flow-X/P Terminal |  | Description / TAG | Input Setting | Terminal ID |  |  | Flow-X/P Connector | Flow-X/P Terminal
Analog/HART Input 1 | Not Assigned - Default Setting | 4-20mA | + | X1A | 32 | Analog Output 1 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1A | 12
|  |  | - | X1A | 33 |  |  |  | - |  |  | X1A | 13
Analog/HART Input 2 | Not Assigned - Default Setting | 4-20mA | + | X1A | 34 | Analog Output 2 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1A | 30
|  |  | - | X1A | 35 |  |  |  | - |  |  | X1A | 31
Analog/HART Input 3 | Not Assigned - Default Setting | 4-20mA | + | X1A | 36 | Analog Output 3 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1B | 12
|  |  | - | X1A | 37 |  |  |  | - |  |  | X1B | 13
Analog/HART Input 4 | Not Assigned - Default Setting | 4-20mA | + | X1B | 32 | Analog Output 4 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1B | 30
|  |  | - | X1B | 33 |  |  |  | - |  |  | X1B | 31
Analog Input 5 | Not Assigned - Default Setting | 4-20mA | + | X1B | 34
|  |  | - | X1B | 35 | Serial Com Port 1 | Not Assigned | RS232 |  | Tx+ | TRx+ | X1A | 1
Analog Input 6 | Not Assigned - Default Setting | 4-20mA | + | X1B | 36 |  |  |  | Tx | Tx- | TRx- | X1A | 2
|  |  | - | X1B | 37 |  |  |  |  | Rx- |  | X1A | 3
[9 empty] | Rx | Rx+ |  | X1A | 4
RTD / PRT Input 1 | Not Assigned - Default Setting | Power | + | X1A | 15 |  |  |  | Gnd |  |  | X1A | 21
|  | Signal | + | X1A | 16 | Serial Com Port 2 | Not Assigned | RS232 |  | Tx+ | TRx+ | X1B | 1
|  | Signal | - | X1A | 17 |  |  |  | Tx | Tx- | TRx- | X1B | 2
|  | Power | - | X1A | 18 |  |  |  |  | Rx- |  | X1B | 3
RTD / PRT Input 1 | Not Assigned - Default Setting | Power | + | X1B | 15 |  |  |  | Rx | Rx+ |  | X1B | 4
|  | Signal | + | X1B | 16 |  |  |  | Gnd |  |  | X1B | 21
|  | Signal | - | X1B | 17
|  | Power | - | X1B | 18 | Digital I/O 1 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 6
[9 empty] | - |  |  | X1A | 7
[6 empty] | Digital I/O 2 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 8
[9 empty] | - |  |  | X1A | 9
[6 empty] | Digital I/O 3 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 10
[9 empty] | - |  |  | X1A | 11
[6 empty] | Digital I/O 4 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 20
[9 empty] | - |  |  | X1A | 21
[6 empty] | Digital I/O 5 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 22 | [5 empty] | Pick lists
[9 empty] | - |  |  | X1A | 23
[6 empty] | Digital I/O 6 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 24 | [5 empty] | 4-20mA
[9 empty] | - |  |  | X1A | 25 | [5 empty] | 1-5V
[6 empty] | Digital I/O 7 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 26 | [5 empty] | HART
[9 empty] | - |  |  | X1A | 27 | [5 empty] | 0-20ma
[6 empty] | Digital I/O 8 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 28 | [5 empty] | 0-5V
[9 empty] | - |  |  | X1A | 29
[6 empty] | Digital I/O 9 | Not Assigned - Default Setting | Digital Input | + |  |  |  | 6 | [5 empty] | Digital Input
[9 empty] | - |  |  | X1B | 7 | [5 empty] | Digital Ouput
[6 empty] | Digital I/O 10 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 8 | [5 empty] | Pulse Input A
[9 empty] | - |  |  | X1B | 9 | [5 empty] | Pulse Input B
[6 empty] | Digital I/O 11 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 10 | [5 empty] | Pulse Output
[9 empty] | - |  |  | X1B | 11 | [5 empty] | Time Period Input
[6 empty] | Digital I/O 12 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 20 | [5 empty] | Prover Detector
[9 empty] | - |  |  | X1B | 21 | [5 empty] | Prover Pulse Output
[6 empty] | Digital I/O 13 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 22
[9 empty] | - |  |  | X1B | 23 | [5 empty] | RS232
[6 empty] | Digital I/O 14 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 24 | [5 empty] | RS485 (2-wire)
[9 empty] | - |  |  | X1B | 25 | [5 empty] | RS485 (4-wire)
[6 empty] | Digital I/O 15 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 26
[9 empty] | - |  |  | X1B | 27
[6 empty] | Digital I/O 16 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 28 |  |  | Flow X/P Module 3 I/O Connections
[9 empty] | - |  |  | X1B | 29
Model Number: | Flow-X/P |  |  | Spirit IT Reference | [7 empty] | Revision | By | Date | Checked | Date | App'd | Date
Serial Number: |  |  |  | Customer reference
TAG No. |  |  |  | Project Name |  |  |  | Sheet | 3 | of | 4

## Module 4
| Description / TAG | Input Setting | Terminal ID | Flow-X/P Connector | Flow-X/P Terminal |  | Description / TAG | Input Setting | Terminal ID |  |  | Flow-X/P Connector | Flow-X/P Terminal
Analog/HART Input 1 | Not Assigned - Default Setting | 4-20mA | + | X1A | 32 | Analog Output 1 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1A | 12
|  |  | - | X1A | 33 |  |  |  | - |  |  | X1A | 13
Analog/HART Input 2 | Not Assigned - Default Setting | 4-20mA | + | X1A | 34 | Analog Output 2 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1A | 30
|  |  | - | X1A | 35 |  |  |  | - |  |  | X1A | 31
Analog/HART Input 3 | Not Assigned - Default Setting | 4-20mA | + | X1A | 36 | Analog Output 3 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1B | 12
|  |  | - | X1A | 37 |  |  |  | - |  |  | X1B | 13
Analog/HART Input 4 | Not Assigned - Default Setting | 4-20mA | + | X1B | 32 | Analog Output 4 | Not Assigned - Default Setting | 4-20mA | + |  |  | X1B | 30
|  |  | - | X1B | 33 |  |  |  | - |  |  | X1B | 31
Analog Input 5 | Not Assigned - Default Setting | 4-20mA | + | X1B | 34
|  |  | - | X1B | 35 | Serial Com Port 1 | Not Assigned | RS232 |  | Tx+ | TRx+ | X1A | 1
Analog Input 6 | Not Assigned - Default Setting | 4-20mA | + | X1B | 36 |  |  |  | Tx | Tx- | TRx- | X1A | 2
|  |  | - | X1B | 37 |  |  |  |  | Rx- |  | X1A | 3
[9 empty] | Rx | Rx+ |  | X1A | 4
RTD / PRT Input 1 | Not Assigned - Default Setting | Power | + | X1A | 15 |  |  |  | Gnd |  |  | X1A | 21
|  | Signal | + | X1A | 16 | Serial Com Port 2 | Not Assigned | RS232 |  | Tx+ | TRx+ | X1B | 1
|  | Signal | - | X1A | 17 |  |  |  | Tx | Tx- | TRx- | X1B | 2
|  | Power | - | X1A | 18 |  |  |  |  | Rx- |  | X1B | 3
RTD / PRT Input 1 | Not Assigned - Default Setting | Power | + | X1B | 15 |  |  |  | Rx | Rx+ |  | X1B | 4
|  | Signal | + | X1B | 16 |  |  |  | Gnd |  |  | X1B | 21
|  | Signal | - | X1B | 17
|  | Power | - | X1B | 18 | Digital I/O 1 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 6
[9 empty] | - |  |  | X1A | 7
[6 empty] | Digital I/O 2 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 8
[9 empty] | - |  |  | X1A | 9
[6 empty] | Digital I/O 3 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 10
[9 empty] | - |  |  | X1A | 11
[6 empty] | Digital I/O 4 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 20
[9 empty] | - |  |  | X1A | 21
[6 empty] | Digital I/O 5 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 22 | [5 empty] | Pick lists
[9 empty] | - |  |  | X1A | 23
[6 empty] | Digital I/O 6 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 24 | [5 empty] | 4-20mA
[9 empty] | - |  |  | X1A | 25 | [5 empty] | 1-5V
[6 empty] | Digital I/O 7 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 26 | [5 empty] | HART
[9 empty] | - |  |  | X1A | 27 | [5 empty] | 0-20ma
[6 empty] | Digital I/O 8 | Not Assigned - Default Setting | Digital Input | + |  |  | X1A | 28 | [5 empty] | 0-5V
[9 empty] | - |  |  | X1A | 29
[6 empty] | Digital I/O 9 | Not Assigned - Default Setting | Digital Input | + |  |  |  | 6 | [5 empty] | Digital Input
[9 empty] | - |  |  | X1B | 7 | [5 empty] | Digital Ouput
[6 empty] | Digital I/O 10 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 8 | [5 empty] | Pulse Input A
[9 empty] | - |  |  | X1B | 9 | [5 empty] | Pulse Input B
[6 empty] | Digital I/O 11 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 10 | [5 empty] | Pulse Output
[9 empty] | - |  |  | X1B | 11 | [5 empty] | Time Period Input
[6 empty] | Digital I/O 12 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 20 | [5 empty] | Prover Detector
[9 empty] | - |  |  | X1B | 21 | [5 empty] | Prover Pulse Output
[6 empty] | Digital I/O 13 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 22
[9 empty] | - |  |  | X1B | 23 | [5 empty] | RS232
[6 empty] | Digital I/O 14 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 24 | [5 empty] | RS485 (2-wire)
[9 empty] | - |  |  | X1B | 25 | [5 empty] | RS485 (4-wire)
[6 empty] | Digital I/O 15 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 26
[9 empty] | - |  |  | X1B | 27
[6 empty] | Digital I/O 16 | Not Assigned - Default Setting | Digital Input | + |  |  | X1B | 28 |  |  | Flow X/P Module 4 I/O Connections
[9 empty] | - |  |  | X1B | 29
Model Number: | Flow-X/P |  |  | Spirit IT Reference | [7 empty] | Revision | By | Date | Checked | Date | App'd | Date
Serial Number: |  |  |  | Customer reference
TAG No. |  |  |  | Project Name |  |  |  | Sheet | 4 | of | 4